## Master with Noted Issues 2017
Address | Noted Issues 5-2017 | Privacy wall repainted 7-2017 | Stucco repair 10-25-2018 | Full Repainting 6-24-2019 | Full Repainting 8-08-2020 | Partial Repaint: Full West Wall 8-08-2020 | Stain Scrub & Power Wash 8-08-2020 | West Side of RV Fence Repaint 8-08-2020 | Power Wash and Fascia Painting 7-26-2021 | Power Wash and Fascia Painting 7-22-2022 | Stucco Repairs 8-1-2022 | Power Wash and Fascia Painting 7-2024 | Stucco Repairs 8-5-2024 | Address
6001 Mia | Cracking along N side of entry way, weather strip N side of garage broken | [7 empty] | Yes |  |  |  |  | 6001 Mia
6002 Mia | Crack at joint w/ patio cover, chip in corner of patio, crack W side of patio cover, crack on archway | Yes | [7 empty] | Yes |  |  |  | 6002 Mia
6003 Mia | Crack base of N PW, separation a N PW, swelling and cracking at joint of S PW | Yes | [6 empty] | Yes |  |  |  |  | 6003 Mia
6004 Mia | Cracks on N PW (both sides), cracks on S entry wall, cracks in entry way | Yes | [7 empty] | Yes |  |  |  | 6004 Mia
6005 Mia | Cracking base of S PW, horizontal crack S side garage door | [7 empty] | Yes |  |  |  |  | 6005 Mia
6006 Mia | Slight cracking around FP vent and spigot, cracks around window, cracks on N PW (both sides) cracks on garage wall, fine cracks on entry wall | Yes | [7 empty] | Yes |  |  |  | 6006 Mia
6007 Mia | Back window, N bottom corner has cracking | [7 empty] | Yes |  |  |  |  | 6007 Mia
6008 Maj | Separation N PW, crack UR Bedroom slider, dings S side Bedroom slider, separation at stucco roofline, light separation at masonry below electric meter | [9 empty] | Yes | Yes |  | 6008 Maj
6008 Mia | Cracks around window, slider, N PW (both sides), entry divider and entry wall | Yes |  |  |  |  | Yes |  |  | Yes |  |  |  | 6008 Mia
6010 Maj | Crack at S PW joint, cracks w/ separation at base of S PW (both sides), slight separation of masonry S Side, crack UR garage roofline, UL entry door, center over garage door | [9 empty] | Yes | Yes |  | 6010 Maj
6010 Mia | Cracks around patch, N PW (both sides) and on entry walls | Yes | [7 empty] | Yes |  |  |  | 6010 Mia
6011 Mia | Rust showing, start of separation N PW, small crack center of S wall | [7 empty] | Yes |  |  |  |  | 6011 Mia
6012 Maj | Downspout loose screw not holding in place, N wall (base) nasty swelling w/ cracks, slight crack along joint S PW | [10 empty] | Yes |  | 6012 Maj
6012 Mia | Cracks on entry wall | Yes | [7 empty] | Yes |  |  |  | 6012 Mia
6013 Mia | Damage to S side of garage opening, pitting adj. to gas meter | Yes | [6 empty] | Yes |  |  |  |  | 6013 Mia
6013 Vin | Fine crack at base of Bay Window, base of slider (LR) | [12 empty] | 6013 Vin
6014 Maj | Cracks on wall beneath window, ding to support S side entry | [10 empty] | Yes |  | 6014 Maj
6015 Mia | Cracks on PW, both sides, Cracking top of S of garage door, crack adj to electric meter, separation t top of bay window | Yes | [6 empty] | Yes |  |  |  |  | 6015 Mia
6015 Vin | No problems | [12 empty] | 6015 Vin
6016 Maj | Damage to slider trim | [10 empty] | Yes |  | 6016 Maj
6016 Mia | Cracks on joint w/ patio cover, on PW (both sides) | Yes | [7 empty] | Yes |  |  |  | 6016 Mia
6017 Vin | No problems | [12 empty] | 6017 Vin
6018 Maj | Crack flowing from base beneath elect outlet, base of N PW | [10 empty] | Yes |  | 6018 Maj
6018 Mia | Cracks on 2nd level above slider, on PW (both sides) | Yes | [7 empty] | Yes |  |  |  | 6018 Mia
6019 Mia | Rot on fascia, south side | [7 empty] | Yes |  |  |  |  | 6019 Mia
6019 Vin | Crack above S Bay Window | [12 empty] | 6019 Vin
6020 Maj | No problems | [10 empty] | Yes |  | 6020 Maj
6020 Mia | Cracks on 2nd level above slider, by window, on N PW (both sides)some separation of PW from wall, N corner of garage | Yes | [7 empty] | Yes | Yes |  |  | 6020 Mia
6021 Mia | [8 empty] | Yes |  |  |  |  | 6021 Mia
6021 Vin | Crack at base of N entry wall, settling of entry concrete , under rear window, LR bathroom window, at base of center Bay Window | [12 empty] | 6021 Vin
6021/6023 Mia | Separation of PW plus cracks on North PW | Yes/Yes | [11 empty] | 6021/6023 Mia
6022 Maj | Crack by pad and spigot N side | [10 empty] | Yes |  | 6022 Maj
6022 Mia | Cracks at corner of slider, PW both sides both lower corners of window | Yes |  |  |  |  | Yes |  |  | Yes | Yes |  |  | 6022 Mia
6023 Mia | Trim at base of slider, crack in corner of slider, Swelling of wood on S side of garage, crack front corner of facia | Yes |  |  |  |  | Yes |  | Yes |  |  |  | Yes | 6023 Mia
6023 Vin | Crack between facia and stucco N entry wall by garage, missing stucco at base of N PW | [12 empty] | 6023 Vin
6024 Mia | Small crack on garage wall | Yes | [7 empty] | Yes | Yes |  |  | 6024 Mia
9201 Vin | No problems | [12 empty] | 9201 Vin
9203 Vin | Fine cracks both sides of E Bay Window, on W side PW at joint w/ house | [12 empty] | 9203 Vin
9205 Vin | Fine cracks at base of center Bay Window, base of E wall near bathroom window | [12 empty] | 9205 Vin
9206 Vin | Cracks at base of S PW, inside of PW, joint btwn PW and E wall, E wall, joint of E Bay Window | [12 empty] | 9206 Vin
9207 Maj | Lawn mower dents on PW (both sides) | [10 empty] | Yes |  | 9207 Maj
9207 Vin | Crack at electric outlet (rear), upper corner of PW (both sides), ding in corner of PW, corners of bathroom window, numerous base of W wall, center Bay Window | [12 empty] | 9207 Vin
9209 Maj | Crack LL corner of window, numerous fine on W wall, all windows have cracks at corners under Bay Window (W side), windows of NW patio | [10 empty] | Yes |  | 9209 Maj
9209 Vin | Crack on W PW | [12 empty] | 9209 Vin
9210 Vin | Cracks on W wall, by windows W wall, S wall, PW | [12 empty] | 9210 Vin
9303 Vin | Small crack at joint of original wall and patio cover (E side), top of patio wall, base of sliders (both sides), W wall numerous--some large | [12 empty] | 9303 Vin
9305 Maj | Cracks around sealed window W side, on W wall, both sides of entry arch, E wall by bathroom window plus other small, Patio enclosure (both sides), LL slider trim | [10 empty] | Yes |  | 9305 Maj
9305 Vin | Cracks on all walls, cracks at masonry joint near electric meter, fine cracks at base of E wall, needs to trim evergreen on E side, separation of E PW (both sides), Cracks on both sides of slider, ding a L corner of W PW | [12 empty] | 9305 Vin
9306 Maj | Cracks around electric meter, hole on W wall of patio inset | [6 empty] | Yes |  |  |  | Yes |  | 9306 Maj
9306 Vin | Flaking paint on garage man entry | [12 empty] | 9306 Vin
9307 Maj | No problems | [10 empty] | Yes |  | 9307 Maj
9307 Vin | Cracks on all walls | [12 empty] | 9307 Vin
9308 Maj | Cracks under S window, cracks along E side wall | [10 empty] | Yes |  | 9308 Maj
9308 Vin | Cracks on E wall (extensive fine) | [12 empty] | 9308 Vin
9309 Maj | No problems | [10 empty] | Yes | Yes | 9309 Maj
9309 Vin | Crack at joint between entry and garage wall, fine alone base of E Wall | [12 empty] | 9309 Vin
9310 Maj | Cracks on W wall around AC and Gas (numerous, fine under S side window | [9 empty] | Yes | Yes |  | 9310 Maj
9310 Vin | Cracks (fine) on PW, W wall, E entry wall | [12 empty] | 9310 Vin
9311 Maj | Crack in front Masonry | [10 empty] | Yes |  | 9311 Maj
9311 Vin | Separation of W PW (both sides), dine crack at base of E wall, E corner of entry all, base of electric meter, E PW | [12 empty] | 9311 Vin
9312 Maj | Crack at base of slider, ding at base of rear window, ding near corner of S wall, separation between entry and E wall, crack at UE garage roofline | [9 empty] | Yes | Yes |  | 9312 Maj
9312 Vin | Major crack in Masonry E wall entry, crack on E side under bathroom window | [12 empty] | 9312 Vin
9313 Maj | Damage at corner of Tr window (W side) crack at LL/LR slider trim | [10 empty] | Yes |  | 9313 Maj
9313 Vin | Fine crack at electric meter, ding on E side entry corners, damage to PW (both sides), separation at joint of PW and wall | [12 empty] | 9313 Vin
9314 Maj | Crack along base of E entry, above entry | [10 empty] | Yes |  | 9314 Maj
9314 Vin | Crack under bathroom window (W side), settling of entry concrete, cracks on entryway, separation at abase of entry way arch |  | Yes | [9 empty] | Yes but owner pd | 9314 Vin
9315 Maj | Crack at LR slider | [10 empty] | Yes |  | 9315 Maj
9315 Vin | No problems |  | Yes | [10 empty] | 9315 Vin
9316 Maj | Crack at W PW base joint | [10 empty] | Yes |  | 9316 Maj
9316 Vin | Separation at base of rock (E entry), needs screens reset on S side | [12 empty] | 9316 Vin
9317 Maj | Fine cracks at LL slider | [10 empty] | Yes |  | 9317 Maj
9318 Maj | Crack above electric meter, L Bathroom window | [10 empty] | Yes |  | 9318 Maj
9318 Vin | Crack at base of W wall, base of window LR, at roofline E side, AC may be leaking (oil on wall) AC electric box loose | [12 empty] | 9318 Vin
9320 Maj | Patched crack on W PW base, ding on S wall cracks by window S side, along base of E wall | [10 empty] | Yes |  | 9320 Maj
9401 Maj | No problems | [10 empty] | Yes |  | 9401 Maj
9401 Vin | Gaps around AC entry | [12 empty] | 9401 Vin
9402 Maj | Dings on entry wall, crack next to drain spout , corners of windows W side, Bedroom windows, transom windows, din to slider trim | [10 empty] | Yes |  | 9402 Maj
9402 Vin | Cracks on E side base of wall, a LR slider | [12 empty] | 9402 Vin
9403 Maj | No problems | [10 empty] | Yes |  | 9403 Maj
9403 Vin | Fine crack a NW corner base, damage at AC entry, damage on N wall E of Slider | [12 empty] | 9403 Vin
9404 Maj | Fine crack UL slider, stucco separating from front pad | [10 empty] | Yes |  | 9404 Maj
9404 Vin | Cracks a LL of slider, base of S wall, W wall (numerous), crack in masonry at entry wall, gap between facia and stucco over garage | [12 empty] | 9404 Vin
9405 Maj | No problems | [10 empty] | Yes |  | 9405 Maj
9405 Vin | Fine cracks at base of E wall | [12 empty] | 9405 Vin
9406 Maj | Crack above Eave on E side patio | [10 empty] | Yes |  | 9406 Maj
9406 Vin | Chip on corner of garage and entry, fine cracks on E wall | [12 empty] | 9406 Vin
9407 Maj | Fine crack PW W side, LL/LR Window W side | [10 empty] | Yes |  | 9407 Maj
9407 Vin | Fine cracks at base of W wall, shrinkage UL garage facia | [12 empty] | 9407 Vin
9408 Maj | Ding at garbage pad, cracks along W wall base (fine) | [10 empty] | Yes |  | 9408 Maj
9408 Vin | Dings in S wall (W of slider), crack in corner W PW, fine cracks at base of W wall, LL/UL window on W wall, E entry wall nr masonry | [12 empty] | 9408 Vin
9409 Vin | Crack UL archway, UL entry wall by door, hairline W side patio joint, mower damage to W PW | [12 empty] | 9409 Vin
9411 Vin | Crack UL above entry door at corner of walls | [12 empty] | 9411 Vin
9413 Vin | Cracks both sides of entry arch | [12 empty] | 9413 Vin
9415 Vin | Cracks in trim of Bay windows, E wall under large window, base of E wall, base of N wall by bedroom window, near top of PW, ding base of E Wall (NE) | [12 empty] | 9415 Vin
9417 Vin | Separation of W PW, cracks at base of N window, ugly patch on E PW, crack on E PW, center of upper garage trim | [12 empty] | 9417 Vin
9419 Vin | Fine cracks UL of electric meter, along base of E Bay Window, LL o W Bay Window, numerous along base of E Wall, E PW has separation |  |  |  |  | Yes | [7 empty] | 9419 Vin
9501 Vin | Swelling at base of W PW | Yes |  | Yes | [9 empty] | 9501 Vin
9503 Vin | cracks at base of slider trim | Yes |  | Yes | [9 empty] | 9503 Vin
9505 Vin | Cracks on E PW (both sides), cracks adj to electric meter | Yes |  | Yes | [9 empty] | 9505 Vin
9507 Vin | Cracks on E PW (both sides) | Yes |  | Yes | [9 empty] | 9507 Vin
9511 Vin | Cracks at joint W PW, cracks on E wall (fine), cracks on E garage wall | Yes |  | Yes | [9 empty] | 9511 Vin
9512 Mia | Crack W PW and along top of PW | Yes | [6 empty] | Yes |  |  |  |  | 9512 Mia
9513 Vin | Cracks by electric meter and wall to entry, numerous small cracks on W wall | Yes |  | Yes | [9 empty] | 9513 Vin
9514 Mia | Cracks on PWs, cracks around electric meter | Yes |  |  |  |  | Yes |  | Yes |  |  |  |  | 9514 Mia
9516 Mia | Crack on E PW, cracks on E side of garage door | [7 empty] | Yes |  |  |  |  | 9516 Mia
9601 Mia | Cracks E side garage, cracks W side garage with separation next to 9603 | [7 empty] | Yes |  |  |  |  | 9601 Mia
9602 Vin | Cracks on W PW, serious flaking on window trim, leaking yard hydrant | Yes |  |  | Yes | [8 empty] | 9602 Vin
9603 Mia | Cracks on W PW (both sides), garage separation near base | Yes | [6 empty] | Yes |  |  |  | Yes | 9603 Mia
9604 Mia | Cracking o n garage wall, horizontal cracks on W wall | Yes | [6 empty] | Yes |  |  |  |  | 9604 Mia
9604 Vin | No problems | Yes |  |  | Yes | [8 empty] | 9604 Vin
9605 Mia | Cracks on W PW (both sides), cracks next to front entry | Yes | [6 empty] | Yes |  |  |  |  | 9605 Mia
9605 Vin |  |  |  | Yes | [9 empty] | 9605 Vin
9606 Mia | No access to patio area, cracks on walls W of garage door, crack, vertical from water spigot, damage to base of W entry wall | Yes | [6 empty] | Yes |  |  |  |  | 9606 Mia
9606 Vin | Cracks on Bay Window, crack at E PW joint(outer) chips and holes in entry way (garage side) | Yes |  |  | Yes | [8 empty] | 9606 Vin
9607 Mia | Cracks on garage wall, east side | Yes | [6 empty] | Yes |  |  |  |  | 9607 Mia
9607 Vin | Dings on W garage corner | Yes |  | Yes | [9 empty] | 9607 Vin
9608 Mia | Cracks on E PW, Crack frond of doorway, cracks on E entry | [7 empty] | Yes |  |  |  | Yes | 9608 Mia
9609 Vin | Crack on center Bay Window trim | Yes |  | Yes | [9 empty] | 9609 Vin
9611 Mia | Crack on E side of entry and on E wall, garage trim broken | [7 empty] | Yes |  |  |  |  | 9611 Mia
9612 Mia | Back, cracks at corner of window, and on slider door, separation on W PW plus cracks | Yes | [6 empty] | Yes |  |  |  |  | 9612 Mia
9612 Vin | No problems | Yes |  |  | Yes | [8 empty] | 9612 Vin
9613 Mia | Rust on E side PW and cracks, cracks on W PW (both sides), numerous cracks next to AC | Yes | [6 empty] | Yes |  |  |  |  | 9613 Mia
9613 Vin |  |  |  | Yes | [9 empty] | 9613 Vin
9614 Mia | Crack at base of W PW, separation of W PW, crack at base of slider | Yes | [6 empty] | Yes |  |  |  |  | 9614 Mia
9614 Vin | Major crack at joint on E PW, Cracks on E PW | Yes | Yes |  | Yes | [5 empty] | Yes |  | Yes | 9614 Vin
9615 Mia | Cracks on W PW (serious)(both sides), cracks on both sides of entry way | Yes | [6 empty] | Yes |  |  |  |  | 9615 Mia
9615 Vin | Separation of W PW (both sides), separation of E PW (both sides), cracks on E PW (both sides), cracks on E entry wall | Yes |  | Yes | [8 empty] | TBD 2025 owner pd | 9615 Vin
9616 Vin | No problems | Yes |  |  | Yes | [8 empty] | 9616 Vin
9617 Mia | Cracks on W Bay Window, cracks on E side of entry way, broken trim E side of garage | Yes | [6 empty] | Yes |  |  |  |  | 9617 Mia
9618 Mia | [8 empty] | Yes |  |  |  |  | 9618 Mia
9619 Vin | No noted problems | Yes |  | Yes | [9 empty] | 9619 Vin
9620 Mia | [8 empty] | Yes |  |  |  |  | 9620 Mia
9621 Mia | Rust on Bay Window/garage at entry, broken dryer vent, handle missing from slider, cracks/separation on E PW, crack W side garage | Yes | [6 empty] | Yes |  |  |  |  | 9621 Mia
9621 Vin | Major cracks a E side juncture, dent on W side of entry door | Yes |  | Yes | [9 empty] | 9621 Vin
9622 Mia | No noted problems | Yes | [6 empty] | Yes |  |  |  |  | 9622 Mia
9622 Vin | Rust spots east of slider | Yes |  |  | Yes | [8 empty] | 9622 Vin
9623 Mia | Major crack and separation E PW, minor cracks on W PW (both sides), broken trim on garage, crack near entry on garage wall | Yes | [6 empty] | Yes |  |  |  |  | 9623 Mia
9623 Vin | No noted problems | Yes |  | Yes | [9 empty] | 9623 Vin
9624 Vin | Major crack at joint on E PW, cracks at S end PW (both sides) | Yes |  |  | Yes | [8 empty] | 9624 Vin
9625 Mia | Crack next to Electric meter, cracks next to entry on garage wall | [7 empty] | Yes |  |  |  |  | 9625 Mia
9626 Mia | Crack on E roof line, cracks on W PW, Cracks on W side of entry | Yes | [6 empty] | Yes |  |  |  |  | 9626 Mia
9626 Vin |  |  |  |  | Yes | [8 empty] | 9626 Vin
9627 Mia | Crack on E PW and separation, cracks around slider, clogged dryer vent, separation btwn, garage and entry, cracks in garage wall, cracks and rust on support pillar | Yes | [6 empty] | Yes |  |  |  | Yes | 9627 Mia
9627 Vin |  |  |  | Yes | [9 empty] | 9627 Vin
9628 Mia | Cracks of E PW, Cracks on W PW, Cracks on W side of garage, Cracks of entry way (both sides) | Yes | [6 empty] | Yes |  |  |  |  | 9628 Mia
9628 Vin | Damage to entry concrete | Yes |  |  | Yes | [8 empty] | 9628 Vin
9629 Vin |  |  |  | Yes | [9 empty] | 9629 Vin
9630 Mia | Cracks on E PW | Yes | [6 empty] | Yes |  |  |  |  | 9630 Mia
9631 Vin | Damage to trim and vertical crack from N side of trim | Yes |  | Yes | [9 empty] | 9631 Vin
9702 Mia | Cracks on E side garage to entry, separation of E PW, cracks on W PW, crack near electric meter | Yes | [6 empty] | Yes |  |  |  |  | 9702 Mia
9703 Vin | Cracks at base of slider trim, damage to E wall (previous owner caused) | Yes | [6 empty] | Yes |  |  |  |  | 9703 Vin
9704 Mia | Cracks on E PW, separation of E PW, cracks on W PW | Yes | [6 empty] | Yes |  |  |  |  | 9704 Mia
9705 Vin | Cracks W PW, cracks on slider trim, cracks on N entry wall and garage wall | Yes | [6 empty] | Yes |  |  |  |  | 9705 Vin
9706 Mia | Cracks on W PW, crack nest to Fire place exhaust, separation of W PW, cracks on W PW, crack at electric meter | Yes | [6 empty] | Yes |  |  |  |  | 9706 Mia
9707 Mia | Crack on garage walls both S and W, fine cracks N PW (both sides) | [7 empty] | Yes |  |  |  |  | 9707 Mia
9707 Vin | Serious cracks W PW, serious cracks E PW (also rust), cracks by AC entry and phone entry | Yes | [6 empty] | Yes |  |  |  | Yes | 9707 Vin
9708 Mia | Cracks on E PW, cracks on W PW (both sides), crack by small window W side, cracks a Electric service entry, cracks east garage wall | Yes | [6 empty] | Yes |  |  |  |  | 9708 Mia
9709 Mia | Crack on N PW (both sides), cracks on N entry wall and garage wall | [7 empty] | Yes |  |  |  |  | 9709 Mia
9709 Vin | Crack below center bay window, swelling of W side of slider, serious cracking of E PW | Yes | [6 empty] | Yes |  |  |  |  | 9709 Vin
9711 Mia | Crack next to AC entry, cracks on entry pillar, cracks by phone entry | [7 empty] | Yes |  |  |  |  | 9711 Mia
9715 Vin | Cracks by electric meter, separation base of Bay Window, AC penetration, base of window corners, base of E wall, UL corner slider, PW (both sides), separation at roof NE corner | Yes | [7 empty] | Yes |  |  |  | 9715 Vin
9716 Vin | Crack on W side of entry, cracks and separation W PW (both sides) | Yes | [7 empty] | Yes |  |  |  | 9716 Vin
9717 Mia | Cracks W side of entry, at gas line penetration, at patio cover and W PW | Yes | [7 empty] | Yes |  |  |  | 9717 Mia
9717 Vin | Cracks around FP vent, around slider, PW, W & E entry walls, E side garage | Yes | [7 empty] | Yes |  |  |  | 9717 Vin
9718 Vin | Cracks on W PW (both sides),cracks by front of garage door cracks on both sides of entry | Yes | [7 empty] | Yes |  |  |  | 9718 Vin
9719 Mia | Cracks E PW, W PW (both sides), upper L garage door, both sides entry way, separation on E entry wall | Yes | [7 empty] | Yes |  |  |  | 9719 Mia
9719 Vin | Cracks around small window | Yes | [7 empty] | Yes |  |  |  | 9719 Vin
9720 Vin | Cracks on W PW (both sides), crack under Bathroom window, cracks front garage wall | Yes | [7 empty] | Yes |  |  |  | 9720 Vin
9721 Mia | Crack on entry (garage side) | Yes | [7 empty] | Yes |  |  |  | 9721 Mia
9722 Vin | Crack on garage wall | Yes | [7 empty] | Yes |  |  |  | 9722 Vin
9723 Mia | [9 empty] | Yes |  |  |  | 9723 Mia
9801 Mia | Fine Crack W entry wall, W Bay Window UR, center Bay Window W side, AC penetration, Lint at Dryer Vent (needs replaced), W PW (both sides) | Yes | [7 empty] | Yes |  |  |  | 9801 Mia
9802 Vin | Dent center Bay Window, cracks in PW (both sides) but worse on W side | Yes | [7 empty] | Yes |  |  |  | 9802 Vin
9803 Mia | Cracks on entry wall (both sides), entry arch | Yes | [7 empty] | Yes |  |  |  | 9803 Mia
9804 Vin | Cracks on wall and window frame, cracks on W PW (both sides), cracks on garage wall E side of entry | Yes | [7 empty] | Yes |  |  |  | 9804 Vin
9805 Mia | Cracks W PW, damage to back window trim LL, E PW (both sides), garage wall, E entry side, damage to arbor trim | Yes | [7 empty] | Yes |  |  |  | 9805 Mia
9806 Vin | Dent in wall E of slider, cracks on W PW (both sides) small crack at garage joint, numerous cracks on garage wall E side of entry | Yes | [7 empty] | Yes |  |  | Yes | 9806 Vin
9807 Mia | Cracks entry wall (garage side) | Yes | [7 empty] | Yes |  |  |  | 9807 Mia
9808 Vin | Fine crack on W Bay Window, fine cracks on garage wall (entry), fine cracks E side of garage door | [8 empty] | Yes |  |  |  | 9808 Vin
9810 Mia | Cracks at AC entry, W entry wall | [8 empty] | Yes |  |  |  | 9810 Mia
9811 Mia | Cracks W entry wall (fine), W PW (both sides), flaking trim W side slider | Yes | [7 empty] | Yes |  |  |  | 9811 Mia
9811 Vin | Cracks W entry wall, windows E side | [8 empty] | Yes |  |  |  | 9811 Vin
9812 Mia | Cracks on PW, 2nd level windows, E side garage wall, on wall inside entry | [8 empty] | Yes |  |  |  | 9812 Mia
9812 Vin | Fine cracks PW both sides | Yes | [7 empty] | Yes |  |  |  | 9812 Vin
9813 Mia | Cracks over slider, W PW (both sides), entry way (both sides) | Yes | [7 empty] | Yes | Yes |  |  | 9813 Mia
9813 Vin | Cracks on PW, 2nd level trim | Yes | [7 empty] | Yes |  |  |  | 9813 Vin
9814 Mia | Cracks on PW, SE corner window LL, cracks on W entry wall | [8 empty] | Yes |  |  |  | 9814 Mia
9814 Vin | Fine cracks PW both sides, fine crack down from W corner of window, cracks going up frame center of garage, cracks both sides of entry | Yes | [7 empty] | Yes |  |  |  | 9814 Vin
9815 Mia | Cracks on W garage wall, needs trim bush on E side to see house number, cracks E side entry | Yes | [7 empty] | Yes |  |  |  | 9815 Mia
9815 Vin | Cracks on E PW, W PW (both sides), entry walls (both sides) | Yes | [7 empty] | Yes |  |  | Yes | 9815 Vin
9816 Mia | Cracks on E entry wall, broken dryer vent, small cracks around slider, cracks on PW (both sides) | [8 empty] | Yes |  |  |  | 9816 Mia
9816 Vin | Fine cracks on PW (both sides), cracks on walls both sides of entry, cracks on front of garage (both sides) | Yes | [7 empty] | Yes |  |  |  | 9816 Vin
9817 Mia | Cracks in W PW, needs Dryer Vent replaced, cracks around gig Window (W side), E side entry wall | Yes | [7 empty] | Yes |  |  |  | 9817 Mia
9817 Vin | Cracks between Gas meter and water spigot, E entry wall | [8 empty] | Yes |  |  |  | 9817 Vin
9818 Vin | Cracks on W wall by AC, cracks on entry wall (garage side) | Yes | [7 empty] | Yes |  |  |  | 9818 Vin
9820 Mia | Separation of PW | [8 empty] | Yes |  |  |  | 9820 Mia
9821 Mia | Cracks above W Bay Window, damage to corner of Bay Window, cracks at base of E wall, around main window E side, W PW (both sides), W side garage | Yes | [7 empty] | Yes |  |  |  | 9821 Mia
9821 Vin | Cracks around window trim | [8 empty] | Yes |  |  |  | 9821 Vin
9822 Mia | Small separation on E entry wall | [8 empty] | Yes |  |  |  | 9822 Mia
9822 Vin | No problems | [8 empty] | Yes |  |  |  | 9822 Vin
9823 Mia | Cracks on W PW (both sides), around electric meter | Yes | [7 empty] | Yes |  |  |  | 9823 Mia
9823 Vin | Crack on E PW, ding to garage trim, dead rose removal, corner shrub trimmed next to house | Yes | [7 empty] | Yes |  |  |  | 9823 Vin
9824 Mia | Cracks at AC entry, Main window W side, rear window, separation of PW | [8 empty] | Yes |  |  |  | 9824 Mia
9824 Vin | No problems | [5 empty] | Yes |  |  | Yes |  |  |  | 9824 Vin
9825 Mia | Cracks on W PW (both sides) | [8 empty] | Yes |  |  |  | 9825 Mia
9825 Vin | Cracks around windows W side | Yes | [7 empty] | Yes |  |  |  | 9825 Vin
9826 Vin | No problems | [5 empty] | Yes |  |  | Yes |  |  |  | 9826 Vin
9827 Mia | Cracks on E entry at electric meter, above garage door | Yes | [7 empty] | Yes |  |  |  | 9827 Mia
9828 Vin | Small crack adj to window on W side LR corner | [8 empty] | Yes |  |  |  | 9828 Vin
9901 Vin | Separation around main window E side | [8 empty] | Yes |  |  |  | 9901 Vin
9902 Mia | Cracks along joint between house and patio around windows E side | [8 empty] | Yes |  |  |  | 9902 Mia
9903 Vin | Crack W side entry arch | [8 empty] | Yes |  |  |  | 9903 Vin
9904 Mia | Cracks around rear window | [8 empty] | Yes |  |  |  | 9904 Mia
9904 Vin | No problems | [8 empty] | Yes |  |  |  | 9904 Vin
9905 Mia | Cracks on W garage wall (numerous), W PW (both sides) | Yes | [7 empty] | Yes |  |  |  | 9905 Mia
9905 Vin | No problems | Yes | [7 empty] | Yes |  |  |  | 9905 Vin
9906 Mia | Cracks around slider, separation of PW (both sides), damage above garage door, damage to trim garage and entry | [8 empty] | Yes |  |  |  | 9906 Mia
9906 Vin | Crack on wall adj to E PW | [5 empty] | Yes |  |  | Yes |  |  |  | 9906 Vin
9907 Mia | Cracks on W PW (both sides), on window trim, by telephone and electric meter | Yes | [7 empty] | Yes |  |  |  | 9907 Mia
9907 Vin | Cracks around windows W side, around AC entry, trim of Bay Window | Yes | [7 empty] | Yes |  |  |  | 9907 Vin
9908 Mia | Cracks by windows W side, separation at patio cover, crack by S window LL | [8 empty] | Yes |  |  |  | 9908 Mia
9908 Vin | Needs calking around slider | [8 empty] | Yes |  |  |  | 9908 Vin
9909 Mia | Cracks on W PW (both sides), W garage wall near entry | Yes | [7 empty] | Yes |  |  |  | 9909 Mia
9910 Vin | No problems | [8 empty] | Yes |  |  |  | 9910 Vin
9911 Mia | Cracks on wall and around windows, by telephone and electric entry, on garage wall | Yes | [7 empty] | Yes |  |  |  | 9911 Mia
9914 Vin | No problems | [8 empty] | Yes |  |  |  | 9914 Vin
9916 Vin | No problems | [5 empty] | Yes |  |  | Yes |  |  |  | 9916 Vin
9918 Vin | Small crack on E PW | [5 empty] | Yes |  |  | Yes |  |  |  | 9918 Vin
9920 Vin | No problems | [8 empty] | Yes |  |  |  | 9920 Vin
Palazzo | Chip in trim at SW corner | [7 empty] | Yes |  |  |  |  | Palazzo
Pavilion | [8 empty] | Yes |  |  |  |  | Pavilion

## Privacy Walls 2017
Address | Privacy wall repainted 7-2017
6001 Mia
6002 Mia | Yes
6003 Mia | Yes
6004 Mia | Yes
6005 Mia
6006 Mia | Yes
6007 Mia
6008 Maj
6008 Mia | Yes
6010 Maj
6010 Mia | Yes
6011 Mia
6012 Maj
6012 Mia | Yes
6013 Mia | Yes
6013 Vin
6014 Maj
6015 Mia | Yes
6015 Vin
6016 Maj
6016 Mia | Yes
6017 Vin
6018 Maj
6018 Mia | Yes
6019 Mia
6019 Vin
6020 Maj
6020 Mia | Yes
6021 Mia | Yes
6021 Vin
6022 Maj
6022 Mia | Yes
6023 Mia | Yes
6023 Vin
6024 Mia | Yes
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Maj
9207 Vin
9209 Maj
9209 Vin
9210 Vin
9303 Vin
9305 Maj
9305 Vin
9306 Maj
9306 Vin
9307 Maj
9307 Vin
9308 Maj
9308 Vin
9309 Maj
9309 Vin
9310 Maj
9310 Vin
9311 Maj
9311 Vin
9312 Maj
9312 Vin
9313 Maj
9313 Vin
9314 Maj
9314 Vin
9315 Maj
9315 Vin
9316 Maj
9316 Vin
9317 Maj
9318 Maj
9318 Vin
9320 Maj
9401 Maj
9401 Vin
9402 Maj
9402 Vin
9403 Maj
9403 Vin
9404 Maj
9404 Vin
9405 Maj
9405 Vin
9406 Maj
9406 Vin
9407 Maj
9407 Vin
9408 Maj
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin
9501 Vin | Yes
9503 Vin | Yes
9505 Vin | Yes
9507 Vin | Yes
9511 Vin | Yes
9512 Mia | Yes
9513 Vin | Yes
9514 Mia | Yes
9516 Mia
9601 Mia
9602 Vin | Yes
9603 Mia | Yes
9604 Mia | Yes
9604 Vin | Yes
9605 Mia | Yes
9605 Vin
9606 Mia | Yes
9606 Vin | Yes
9607 Mia | Yes
9607 Vin | Yes
9608 Mia
9609 Vin | Yes
9611 Mia
9612 Mia | Yes
9612 Vin | Yes
9613 Mia | Yes
9613 Vin
9614 Mia | Yes
9614 Vin | Yes
9615 Mia | Yes
9615 Vin | Yes
9616 Vin | Yes
9617 Mia | Yes
9618 Mia
9619 Vin | Yes
9620 Mia | Yes
9621 Mia | Yes
9621 Vin | Yes
9622 Mia | Yes
9622 Vin | Yes
9623 Mia | Yes
9623 Vin | Yes
9624 Vin | Yes
9625 Mia
9626 Mia | Yes
9626 Vin
9627 Mia | Yes
9627 Vin
9628 Mia | Yes
9628 Vin | Yes
9629 Vin | Yes
9630 Mia | Yes
9631 Vin | Yes
9702 Mia | Yes
9703 Vin | Yes
9704 Mia | Yes
9705 Vin | Yes
9706 Mia | Yes
9707 Mia
9707 Vin | Yes
9708 Mia | Yes
9709 Mia
9709 Vin | Yes
9711 Mia
9715 Vin | Yes
9716 Vin | Yes
9717 Mia | Yes
9717 Vin | Yes
9718 Vin | Yes
9719 Mia | Yes
9719 Vin | Yes
9720 Vin | Yes
9721 Mia | Yes
9722 Vin | Yes
9723 Mia | Yes
9801 Mia | Yes
9802 Vin | Yes
9803 Mia | Yes
9804 Vin | Yes
9805 Mia | Yes
9806 Vin | Yes
9807 Mia | Yes
9808 Vin
9810 Mia
9811 Mia | Yes
9811 Vin
9812 Mia
9812 Vin | Yes
9813 Mia | Yes
9813 Vin | Yes
9814 Mia
9814 Vin | Yes
9815 Mia | Yes
9815 Vin | Yes
9816 Mia
9816 Vin | Yes
9817 Mia | Yes
9817 Vin
9818 Vin | Yes
9820 Mia
9821 Mia | Yes
9821 Vin
9822 Mia
9822 Vin
9823 Mia | Yes
9823 Vin | Yes
9824 Mia
9824 Vin
9825 Mia
9825 Vin | Yes
9826 Vin
9827 Mia | Yes
9828 Vin
9901 Vin
9902 Mia
9903 Vin
9904 Mia
9904 Vin
9905 Mia | Yes
9905 Vin | Yes
9906 Mia
9906 Vin
9907 Mia | Yes
9907 Vin | Yes
9908 Mia
9908 Vin
9909 Mia | Yes
9910 Vin
9911 Mia | Yes
9914 Vin
9916 Vin
9918 Vin
9920 Vin
Palazzo

## Stucco Repairs 2018
Address | Stucco repair 10-25-2018
6001 Mia
6002 Mia
6003 Mia
6004 Mia
6005 Mia
6006 Mia
6007 Mia
6008 Maj
6008 Mia
6010 Maj
6010 Mia
6011 Mia
6012 Maj
6012 Mia
6013 Mia
6013 Vin
6014 Maj
6015 Mia
6015 Vin
6016 Maj
6016 Mia
6017 Vin
6018 Maj
6018 Mia
6019 Mia
6019 Vin
6020 Maj
6020 Mia
6021 Mia
6021 Vin
6022 Maj
6022 Mia
6023 Mia
6023 Vin
6024 Mia
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Maj
9207 Vin
9209 Maj
9209 Vin
9210 Vin
9303 Vin
9305 Maj
9305 Vin
9306 Maj
9306 Vin
9307 Maj
9307 Vin
9308 Maj
9308 Vin
9309 Maj
9309 Vin
9310 Maj
9310 Vin
9311 Maj
9311 Vin
9312 Maj
9312 Vin
9313 Maj
9313 Vin
9314 Maj
9314 Vin | Yes
9315 Maj
9315 Vin | Yes
9316 Maj
9316 Vin
9317 Maj
9318 Maj
9318 Vin
9320 Maj
9401 Maj
9401 Vin
9402 Maj
9402 Vin
9403 Maj
9403 Vin
9404 Maj
9404 Vin
9405 Maj
9405 Vin
9406 Maj
9406 Vin
9407 Maj
9407 Vin
9408 Maj
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin
9501 Vin
9503 Vin
9505 Vin
9507 Vin
9511 Vin
9512 Mia
9513 Vin
9514 Mia
9516 Mia
9601 Mia
9602 Vin
9603 Mia
9604 Mia
9604 Vin
9605 Mia
9605 Vin
9606 Mia
9606 Vin
9607 Mia
9607 Vin
9608 Mia
9609 Vin
9611 Mia
9612 Mia
9612 Vin
9613 Mia
9613 Vin
9614 Mia
9614 Vin | Yes
9615 Mia
9615 Vin
9616 Vin
9617 Mia
9618 Mia
9619 Vin
9620 Mia
9621 Mia
9621 Vin
9622 Mia
9622 Vin
9623 Mia
9623 Vin
9624 Vin
9625 Mia
9626 Mia
9626 Vin
9627 Mia
9627 Vin
9628 Mia
9628 Vin
9629 Vin
9630 Mia
9631 Vin
9702 Mia
9703 Vin
9704 Mia
9705 Vin
9706 Mia
9707 Mia
9707 Vin
9708 Mia
9709 Mia
9709 Vin
9711 Mia
9715 Vin
9716 Vin
9717 Mia
9717 Vin
9718 Vin
9719 Mia
9719 Vin
9720 Vin
9721 Mia
9722 Vin
9723 Mia
9801 Mia
9802 Vin
9803 Mia
9804 Vin
9805 Mia
9806 Vin
9807 Mia
9808 Vin
9810 Mia
9811 Mia
9811 Vin
9812 Mia
9812 Vin
9813 Mia
9813 Vin
9814 Mia
9814 Vin
9815 Mia
9815 Vin
9816 Mia
9816 Vin
9817 Mia
9817 Vin
9818 Vin
9820 Mia
9821 Mia
9821 Vin
9822 Mia
9822 Vin
9823 Mia
9823 Vin
9824 Mia
9824 Vin
9825 Mia
9825 Vin
9826 Vin
9827 Mia
9828 Vin
9901 Vin
9902 Mia
9903 Vin
9904 Mia
9904 Vin
9905 Mia
9905 Vin
9906 Mia
9906 Vin
9907 Mia
9907 Vin
9908 Mia
9908 Vin
9909 Mia
9910 Vin
9911 Mia
9914 Vin
9916 Vin
9918 Vin
9920 Vin
Palazzo

## Full Paint 2019
Address | Full Repainting 6-24-2019
6001 Mia
6002 Mia
6003 Mia
6004 Mia
6005 Mia
6006 Mia
6007 Mia
6008 Maj
6008 Mia
6010 Maj
6010 Mia
6011 Mia
6012 Maj
6012 Mia
6013 Mia
6013 Vin
6014 Maj
6015 Mia
6015 Vin
6016 Maj
6016 Mia
6017 Vin
6018 Maj
6018 Mia
6019 Mia
6019 Vin
6020 Maj
6020 Mia
6021 Vin
6022 Maj
6022 Mia
6023 Mia
6023 Vin
6024 Mia
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Vin
9207 Maj
9209 Maj
9209 Vin
9210 Vin
9303 Vin
9305 Maj
9305 Vin
9306 Maj
9306 Vin
9307 Maj
9307 Vin
9308 Maj
9308 Vin
9309 Maj
9309 Vin
9310 Maj
9310 Vin
9311 Maj
9311 Vin
9312 Maj
9312 Vin
9313 Maj
9313 Vin
9314 Maj
9314 Vin
9315 Maj
9315 Vin
9316 Maj
9316 Vin
9317 Maj
9318 Maj
9318 Vin
9320 Maj
9401 Maj
9401 Vin
9402 Maj
9402 Vin
9403 Maj
9403 Vin
9404 Maj
9404 Vin
9405 Maj
9405 Vin
9406 Maj
9406 Vin
9407 Maj
9407 Vin
9408 Maj
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin
9501 Vin | Yes
9503 Vin | Yes
9505 Vin | Yes
9507 Vin | Yes
9511 Vin | Yes
9512 Mia
9513 Vin | Yes
9514 Mia
9516 Mia
9601 Mia
9602 Vin
9603 Mia
9604 Mia
9604 Vin
9605 Mia
9605 Vin | Yes
9606 Mia
9606 Vin
9607 Mia
9607 Vin | Yes
9608 Mia
9609 Vin | Yes
9611 Mia
9612 Mia
9612 Vin
9613 Mia
9613 Vin | Yes
9614 Mia
9614 Vin
9615 Mia
9615 Vin | Yes
9616 Vin
9617 Mia
9619 Vin | Yes
9621 Mia
9621 Vin | Yes
9622 Mia
9622 Vin
9623 Mia
9623 Vin | Yes
9624 Vin
9625 Mia
9626 Mia
9627 Mia
9627 Vin | Yes
9628 Mia
9628 Vin
9629 Vin | Yes
9630 Mia
9631 Vin | Yes
9702 Mia
9703 Vin
9704 Mia
9705 Vin
9706 Mia
9707 Mia
9707 Vin
9708 Mia
9709 Mia
9709 Vin
9711 Mia
9715 Vin
9716 Vin
9717 Mia
9717 Vin
9718 Vin
9719 Mia
9719 Vin
9720 Vin
9721 Mia
9722 Vin
9801 Mia
9802 Vin
9803 Mia
9804 Vin
9805 Mia
9806 Vin
9807 Mia
9808 Vin
9810 Mia
9811 Mia
9811 Vin
9812 Mia
9812 Vin
9813 Mia
9813 Vin
9814 Mia
9814 Vin
9815 Mia
9815 Vin
9816 Mia
9816 Vin
9817 Mia
9817 Vin
9818 Vin
9820 Mia
9821 Mia
9821 Vin
9822 Mia
9822 Vin
9823 Mia
9823 Vin
9824 Mia
9824 Vin
9825 Mia
9825 Vin
9826 Vin
9827 Mia
9828 Vin
9901 Vin
9902 Mia
9903 Vin
9904 Mia
9904 Vin
9905 Mia
9905 Vin
9906 Mia
9906 Vin
9907 Mia
9907 Vin
9908 Mia
9908 Vin
9909 Mia
9910 Vin
9911 Mia
9914 Vin
9916 Vin
9918 Vin
9920 Vin
Palazzo

## Paint & Repairs 2020
Address | Full Repainting 8-08-2020 | Partial Repaint: Full West Wall 8-08-2020 | Stain Scrub & Power Wash 8-08-2020 | West Side of RV Fence Repaint 8-08-2020
6001 Mia
6002 Mia
6003 Mia
6004 Mia
6005 Mia
6006 Mia
6007 Mia
6008 Maj
6008 Mia |  |  | Yes
6010 Maj
6010 Mia
6011 Mia
6012 Maj
6012 Mia
6013 Mia
6013 Vin
6014 Maj
6015 Mia
6015 Vin
6016 Maj
6016 Mia
6017 Vin
6018 Maj
6018 Mia
6019 Mia
6019 Vin
6020 Maj
6020 Mia
6021 Mia
6021 Vin
6021/6023 Mia
6022 Maj
6022 Mia |  |  | Yes
6023 Mia |  |  | Yes
6023 Vin
6024 Mia
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Maj
9207 Vin
9209 Maj
9209 Vin
9210 Vin
9303 Vin
9305 Maj
9305 Vin
9306 Maj |  |  |  | Yes
9306 Vin
9307 Maj
9307 Vin
9308 Maj
9308 Vin
9309 Maj
9309 Vin
9310 Maj
9310 Vin
9311 Maj
9311 Vin
9312 Maj
9312 Vin
9313 Maj
9313 Vin
9314 Maj
9314 Vin
9315 Maj
9315 Vin
9316 Maj
9316 Vin
9317 Maj
9318 Maj
9318 Vin
9320 Maj
9401 Maj
9401 Vin
9402 Maj
9402 Vin
9403 Maj
9403 Vin
9404 Maj
9404 Vin
9405 Maj
9405 Vin
9406 Maj
9406 Vin
9407 Maj
9407 Vin
9408 Maj
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin |  | Yes
9501 Vin
9503 Vin
9505 Vin
9507 Vin
9511 Vin
9512 Mia
9513 Vin
9514 Mia |  |  | Yes
9516 Mia
9601 Mia
9602 Vin | Yes
9603 Mia
9604 Mia
9604 Vin | Yes
9605 Mia
9605 Vin
9606 Mia
9606 Vin | Yes
9607 Mia
9607 Vin
9608 Mia
9609 Vin
9611 Mia
9612 Mia
9612 Vin | Yes
9613 Mia
9613 Vin
9614 Mia
9614 Vin | Yes
9615 Mia
9615 Vin
9616 Vin | Yes
9617 Mia
9618 Mia
9619 Vin
9620 Mia
9621 Mia
9621 Vin
9622 Mia
9622 Vin | Yes
9623 Mia
9623 Vin
9624 Vin | Yes
9625 Mia
9626 Mia
9626 Vin | Yes
9627 Mia
9627 Vin
9628 Mia
9628 Vin | Yes
9629 Vin
9630 Mia
9631 Vin
9702 Mia
9703 Vin
9704 Mia
9705 Vin
9706 Mia
9707 Mia
9707 Vin
9708 Mia
9709 Mia
9709 Vin
9711 Mia
9715 Vin
9716 Vin
9717 Mia
9717 Vin
9718 Vin
9719 Mia
9719 Vin
9720 Vin
9721 Mia
9722 Vin
9723 Mia
9801 Mia
9802 Vin
9803 Mia
9804 Vin
9805 Mia
9806 Vin
9807 Mia
9808 Vin
9810 Mia
9811 Mia
9811 Vin
9812 Mia
9812 Vin
9813 Mia
9813 Vin
9814 Mia
9814 Vin
9815 Mia
9815 Vin
9816 Mia
9816 Vin
9817 Mia
9817 Vin
9818 Vin
9820 Mia
9821 Mia
9821 Vin
9822 Mia
9822 Vin
9823 Mia
9823 Vin
9824 Mia
9824 Vin |  |  | Yes
9825 Mia
9825 Vin
9826 Vin |  |  | Yes
9827 Mia
9828 Vin
9901 Vin
9902 Mia
9903 Vin
9904 Mia
9904 Vin
9905 Mia
9905 Vin
9906 Mia
9906 Vin |  |  | Yes
9907 Mia
9907 Vin
9908 Mia
9908 Vin
9909 Mia
9910 Vin
9911 Mia
9914 Vin
9916 Vin |  |  | Yes
9918 Vin |  |  | Yes
9920 Vin
Palazzo

## Power Wash & Fascia 2021
Address | Power Wash and Fascia Painting 7-26-2021
6001 Mia | Yes
6002 Mia
6003 Mia | Yes
6004 Mia
6005 Mia | Yes
6006 Mia
6007 Mia | Yes
6008 Maj
6008 Mia
6010 Maj
6010 Mia
6011 Mia | Yes
6012 Maj
6012 Mia
6013 Mia | Yes
6013 Vin
6014 Maj
6015 Mia | Yes
6015 Vin
6016 Maj
6016 Mia
6017 Vin
6018 Maj
6018 Mia
6019 Mia | Yes
6019 Vin
6020 Maj
6020 Mia
6021 Mia | Yes
6021 Vin
6021/6023 Mia
6022 Maj
6022 Mia
6023 Mia | Yes
6023 Vin
6024 Mia
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Maj
9207 Vin
9209 Maj
9209 Vin
9210 Vin
9303 Vin
9305 Maj
9305 Vin
9306 Maj
9306 Vin
9307 Maj
9307 Vin
9308 Maj
9308 Vin
9309 Maj
9309 Vin
9310 Maj
9310 Vin
9311 Maj
9311 Vin
9312 Maj
9312 Vin
9313 Maj
9313 Vin
9314 Maj
9314 Vin
9315 Maj
9315 Vin
9316 Maj
9316 Vin
9317 Maj
9318 Maj
9318 Vin
9320 Maj
9401 Maj
9401 Vin
9402 Maj
9402 Vin
9403 Maj
9403 Vin
9404 Maj
9404 Vin
9405 Maj
9405 Vin
9406 Maj
9406 Vin
9407 Maj
9407 Vin
9408 Maj
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin
9501 Vin
9503 Vin
9505 Vin
9507 Vin
9511 Vin
9512 Mia | Yes
9513 Vin
9514 Mia | Yes
9516 Mia | Yes
9601 Mia | Yes
9602 Vin
9603 Mia | Yes
9604 Mia | Yes
9604 Vin
9605 Mia | Yes
9605 Vin
9606 Mia | Yes
9606 Vin
9607 Mia | Yes
9607 Vin
9608 Mia | Yes
9609 Vin
9611 Mia | Yes
9612 Mia | Yes
9612 Vin
9613 Mia | Yes
9613 Vin
9614 Mia | Yes
9614 Vin
9615 Mia | Yes
9615 Vin
9616 Vin
9617 Mia | Yes
9618 Mia | Yes
9619 Vin
9620 Mia | Yes
9621 Mia | Yes
9621 Vin
9622 Mia | Yes
9622 Vin
9623 Mia | Yes
9623 Vin
9624 Vin
9625 Mia | Yes
9626 Mia | Yes
9626 Vin
9627 Mia | Yes
9627 Vin
9628 Mia | Yes
9628 Vin
9629 Vin
9630 Mia | Yes
9631 Vin
9702 Mia | Yes
9703 Vin | Yes
9704 Mia | Yes
9705 Vin | Yes
9706 Mia | Yes
9707 Mia | Yes
9707 Vin | Yes
9708 Mia | Yes
9709 Mia | Yes
9709 Vin | Yes
9711 Mia | Yes
9715 Vin
9716 Vin
9717 Mia
9717 Vin
9718 Vin
9719 Mia
9719 Vin
9720 Vin
9721 Mia
9722 Vin
9723 Mia
9801 Mia
9802 Vin
9803 Mia
9804 Vin
9805 Mia
9806 Vin
9807 Mia
9808 Vin
9810 Mia
9811 Mia
9811 Vin
9812 Mia
9812 Vin
9813 Mia
9813 Vin
9814 Mia
9814 Vin
9815 Mia
9815 Vin
9816 Mia
9816 Vin
9817 Mia
9817 Vin
9818 Vin
9820 Mia
9821 Mia
9821 Vin
9822 Mia
9822 Vin
9823 Mia
9823 Vin
9824 Mia
9824 Vin
9825 Mia
9825 Vin
9826 Vin
9827 Mia
9828 Vin
9901 Vin
9902 Mia
9903 Vin
9904 Mia
9904 Vin
9905 Mia
9905 Vin
9906 Mia
9906 Vin
9907 Mia
9907 Vin
9908 Mia
9908 Vin
9909 Mia
9910 Vin
9911 Mia
9914 Vin
9916 Vin
9918 Vin
9920 Vin
Palazzo | Yes
Pavilion | Yes

## Power Wash & Fascia 2022
Address | Power Wash and Fascia Painting 7-22-2022
6001 Mia
6002 Mia | Yes
6003 Mia
6004 Mia | Yes
6005 Mia
6006 Mia | Yes
6007 Mia
6008 Maj
6008 Mia | Yes
6010 Maj
6010 Mia | Yes
6011 Mia
6012 Maj
6012 Mia | Yes
6013 Mia
6013 Vin
6014 Maj
6015 Mia
6015 Vin
6016 Maj
6016 Mia | Yes
6017 Vin
6018 Maj
6018 Mia | Yes
6019 Mia
6019 Vin
6020 Maj
6020 Mia | Yes
6021 Mia
6021 Vin
6021/6023 Mia
6022 Maj
6022 Mia | Yes
6023 Mia
6023 Vin
6024 Mia | Yes
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Maj
9207 Vin
9209 Maj
9209 Vin
9210 Vin
9303 Vin
9305 Maj
9305 Vin
9306 Maj
9306 Vin
9307 Maj
9307 Vin
9308 Maj
9308 Vin
9309 Maj
9309 Vin
9310 Maj
9310 Vin
9311 Maj
9311 Vin
9312 Maj
9312 Vin
9313 Maj
9313 Vin
9314 Maj
9314 Vin
9315 Maj
9315 Vin
9316 Maj
9316 Vin
9317 Maj
9318 Maj
9318 Vin
9320 Maj
9401 Maj
9401 Vin
9402 Maj
9402 Vin
9403 Maj
9403 Vin
9404 Maj
9404 Vin
9405 Maj
9405 Vin
9406 Maj
9406 Vin
9407 Maj
9407 Vin
9408 Maj
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin
9501 Vin
9503 Vin
9505 Vin
9507 Vin
9511 Vin
9512 Mia
9513 Vin
9514 Mia
9516 Mia
9601 Mia
9602 Vin
9603 Mia
9604 Mia
9604 Vin
9605 Mia
9605 Vin
9606 Mia
9606 Vin
9607 Mia
9607 Vin
9608 Mia
9609 Vin
9611 Mia
9612 Mia
9612 Vin
9613 Mia
9613 Vin
9614 Mia
9614 Vin
9615 Mia
9615 Vin
9616 Vin
9617 Mia
9618 Mia
9619 Vin
9620 Mia
9621 Mia
9621 Vin
9622 Mia
9622 Vin
9623 Mia
9623 Vin
9624 Vin
9625 Mia
9626 Mia
9626 Vin
9627 Mia
9627 Vin
9628 Mia
9628 Vin
9629 Vin
9630 Mia
9631 Vin
9702 Mia
9703 Vin
9704 Mia
9705 Vin
9706 Mia
9707 Mia
9707 Vin
9708 Mia
9709 Mia
9709 Vin
9711 Mia
9715 Vin | Yes
9716 Vin | Yes
9717 Mia | Yes
9717 Vin | Yes
9718 Vin | Yes
9719 Mia | Yes
9719 Vin | Yes
9720 Vin | Yes
9721 Mia | Yes
9722 Vin | Yes
9723 Mia | Yes
9801 Mia | Yes
9802 Vin | Yes
9803 Mia | Yes
9804 Vin | Yes
9805 Mia | Yes
9806 Vin | Yes
9807 Mia | Yes
9808 Vin | Yes
9810 Mia | Yes
9811 Mia | Yes
9811 Vin | Yes
9812 Mia | Yes
9812 Vin | Yes
9813 Mia | Yes
9813 Vin | Yes
9814 Mia | Yes
9814 Vin | Yes
9815 Mia | Yes
9815 Vin | Yes
9816 Mia | Yes
9816 Vin | Yes
9817 Mia | Yes
9817 Vin | Yes
9818 Vin | Yes
9820 Mia | Yes
9821 Mia | Yes
9821 Vin | Yes
9822 Mia | Yes
9822 Vin | Yes
9823 Mia | Yes
9823 Vin | Yes
9824 Mia | Yes
9824 Vin | Yes
9825 Mia | Yes
9825 Vin | Yes
9826 Vin | Yes
9827 Mia | Yes
9828 Vin | Yes
9901 Vin | Yes
9902 Mia | Yes
9903 Vin | Yes
9904 Mia | Yes
9904 Vin | Yes
9905 Mia | Yes
9905 Vin | Yes
9906 Mia | Yes
9906 Vin | Yes
9907 Mia | Yes
9907 Vin | Yes
9908 Mia | Yes
9908 Vin | Yes
9909 Mia | Yes
9910 Vin | Yes
9911 Mia | Yes
9914 Vin | Yes
9916 Vin | Yes
9918 Vin | Yes
9920 Vin | Yes
Palazzo
Pavilion

## Stucco Repairs 2022
Address | Stucco Repairs 8-1-2022
6001 Mia
6002 Mia
6003 Mia
6004 Mia
6005 Mia
6006 Mia
6007 Mia
6008 Maj | Yes
6008 Mia
6010 Maj | Yes
6010 Mia
6011 Mia
6012 Maj
6012 Mia
6013 Mia
6013 Vin
6014 Maj
6015 Mia
6015 Vin
6016 Maj
6016 Mia
6017 Vin
6018 Maj
6018 Mia
6019 Mia
6019 Vin
6020 Maj
6020 Mia | Yes
6021 Mia
6021 Vin
6021/6023 Mia
6022 Maj
6022 Mia | Yes
6023 Mia
6023 Vin
6024 Mia | Yes
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Maj
9207 Vin
9209 Maj
9209 Vin
9210 Vin
9303 Vin
9305 Maj
9305 Vin
9306 Maj
9306 Vin
9307 Maj
9307 Vin
9308 Maj
9308 Vin
9309 Maj
9309 Vin
9310 Maj | Yes
9310 Vin
9311 Maj
9311 Vin
9312 Maj | Yes
9312 Vin
9313 Maj
9313 Vin
9314 Maj
9314 Vin
9315 Maj
9315 Vin
9316 Maj
9316 Vin
9317 Maj
9318 Maj
9318 Vin
9320 Maj
9401 Maj
9401 Vin
9402 Maj
9402 Vin
9403 Maj
9403 Vin
9404 Maj
9404 Vin
9405 Maj
9405 Vin
9406 Maj
9406 Vin
9407 Maj
9407 Vin
9408 Maj
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin
9501 Vin
9503 Vin
9505 Vin
9507 Vin
9511 Vin
9512 Mia
9513 Vin
9514 Mia
9516 Mia
9601 Mia
9602 Vin
9603 Mia
9604 Mia
9604 Vin
9605 Mia
9605 Vin
9606 Mia
9606 Vin
9607 Mia
9607 Vin
9608 Mia
9609 Vin
9611 Mia
9612 Mia
9612 Vin
9613 Mia
9613 Vin
9614 Mia
9614 Vin | Yes
9615 Mia
9615 Vin
9616 Vin
9617 Mia
9618 Mia
9619 Vin
9620 Mia
9621 Mia
9621 Vin
9622 Mia
9622 Vin
9623 Mia
9623 Vin
9624 Vin
9625 Mia
9626 Mia
9626 Vin
9627 Mia
9627 Vin
9628 Mia
9628 Vin
9629 Vin
9630 Mia
9631 Vin
9702 Mia
9703 Vin
9704 Mia
9705 Vin
9706 Mia
9707 Mia
9707 Vin
9708 Mia
9709 Mia
9709 Vin
9711 Mia
9715 Vin
9716 Vin
9717 Mia
9717 Vin
9718 Vin
9719 Mia
9719 Vin
9720 Vin
9721 Mia
9722 Vin
9723 Mia
9801 Mia
9802 Vin
9803 Mia
9804 Vin
9805 Mia
9806 Vin
9807 Mia
9808 Vin
9810 Mia
9811 Mia
9811 Vin
9812 Mia
9812 Vin
9813 Mia | Yes
9813 Vin
9814 Mia
9814 Vin
9815 Mia
9815 Vin
9816 Mia
9816 Vin
9817 Mia
9817 Vin
9818 Vin
9820 Mia
9821 Mia
9821 Vin
9822 Mia
9822 Vin
9823 Mia
9823 Vin
9824 Mia
9824 Vin
9825 Mia
9825 Vin
9826 Vin
9827 Mia
9828 Vin
9901 Vin
9902 Mia
9903 Vin
9904 Mia
9904 Vin
9905 Mia
9905 Vin
9906 Mia
9906 Vin
9907 Mia
9907 Vin
9908 Mia
9908 Vin
9909 Mia
9910 Vin
9911 Mia
9914 Vin
9916 Vin
9918 Vin
9920 Vin
Palazzo
Pavilion

## Power Wash & Fascia 2024
Address | Power Wash and Fascia Painting 7-2024
6001 Mia
6002 Mia
6003 Mia
6004 Mia
6005 Mia
6006 Mia
6007 Mia
6008 Maj | Yes
6008 Mia
6010 Maj | Yes
6010 Mia
6011 Mia
6012 Maj | Yes
6012 Mia
6013 Mia
6013 Vin
6014 Maj | Yes
6015 Mia
6015 Vin
6016 Maj | Yes
6016 Mia
6017 Vin
6018 Maj | Yes
6018 Mia
6019 Mia
6019 Vin
6020 Maj | Yes
6020 Mia
6021 Mia
6021 Vin
6021/6023 Mia
6022 Maj | Yes
6022 Mia
6023 Mia
6023 Vin
6024 Mia
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Maj | Yes
9207 Vin
9209 Maj | Yes
9209 Vin
9210 Vin
9303 Vin
9305 Maj | Yes
9305 Vin
9306 Maj | Yes
9306 Vin
9307 Maj | Yes
9307 Vin
9308 Maj | Yes
9308 Vin
9309 Maj | Yes
9309 Vin
9310 Maj | Yes
9310 Vin
9311 Maj | Yes
9311 Vin
9312 Maj | Yes
9312 Vin
9313 Maj | Yes
9313 Vin
9314 Maj | Yes
9314 Vin | Yes but owner pd
9315 Maj | Yes
9315 Vin
9316 Maj | Yes
9316 Vin
9317 Maj | Yes
9318 Maj | Yes
9318 Vin
9320 Maj | Yes
9401 Maj | Yes
9401 Vin
9402 Maj | Yes
9402 Vin
9403 Maj | Yes
9403 Vin
9404 Maj | Yes
9404 Vin
9405 Maj | Yes
9405 Vin
9406 Maj | Yes
9406 Vin
9407 Maj | Yes
9407 Vin
9408 Maj | Yes
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin
9501 Vin
9503 Vin
9505 Vin
9507 Vin
9511 Vin
9512 Mia
9513 Vin
9514 Mia
9516 Mia
9601 Mia
9602 Vin
9603 Mia
9604 Mia
9604 Vin
9605 Mia
9605 Vin
9606 Mia
9606 Vin
9607 Mia
9607 Vin
9608 Mia
9609 Vin
9611 Mia
9612 Mia
9612 Vin
9613 Mia
9613 Vin
9614 Mia
9614 Vin
9615 Mia
9615 Vin
9616 Vin
9617 Mia
9618 Mia
9619 Vin
9620 Mia
9621 Mia
9621 Vin
9622 Mia
9622 Vin
9623 Mia
9623 Vin
9624 Vin
9625 Mia
9626 Mia
9626 Vin
9627 Mia
9627 Vin
9628 Mia
9628 Vin
9629 Vin
9630 Mia
9631 Vin
9702 Mia
9703 Vin
9704 Mia
9705 Vin
9706 Mia
9707 Mia
9707 Vin
9708 Mia
9709 Mia
9709 Vin
9711 Mia
9715 Vin
9716 Vin
9717 Mia
9717 Vin
9718 Vin
9719 Mia
9719 Vin
9720 Vin
9721 Mia
9722 Vin
9723 Mia
9801 Mia
9802 Vin
9803 Mia
9804 Vin
9805 Mia
9806 Vin
9807 Mia
9808 Vin
9810 Mia
9811 Mia
9811 Vin
9812 Mia
9812 Vin
9813 Mia
9813 Vin
9814 Mia
9814 Vin
9815 Mia
9815 Vin
9816 Mia
9816 Vin
9817 Mia
9817 Vin
9818 Vin
9820 Mia
9821 Mia
9821 Vin
9822 Mia
9822 Vin
9823 Mia
9823 Vin
9824 Mia
9824 Vin
9825 Mia
9825 Vin
9826 Vin
9827 Mia
9828 Vin
9901 Vin
9902 Mia
9903 Vin
9904 Mia
9904 Vin
9905 Mia
9905 Vin
9906 Mia
9906 Vin
9907 Mia
9907 Vin
9908 Mia
9908 Vin
9909 Mia
9910 Vin
9911 Mia
9914 Vin
9916 Vin
9918 Vin
9920 Vin
Palazzo
Pavilion

## Stucco Repairs 2024
Address | Stucco Repairs 8-5-2024
6001 Mia
6002 Mia
6003 Mia
6004 Mia
6005 Mia
6006 Mia
6007 Mia
6008 Maj
6008 Mia
6010 Maj
6010 Mia
6011 Mia
6012 Maj
6012 Mia
6013 Mia
6013 Vin
6014 Maj
6015 Mia
6015 Vin
6016 Maj
6016 Mia
6017 Vin
6018 Maj
6018 Mia
6019 Mia
6019 Vin
6020 Maj
6020 Mia
6021 Mia
6021 Vin
6021/6023 Mia
6022 Maj
6022 Mia
6023 Mia | Yes
6023 Vin
6024 Mia
9201 Vin
9203 Vin
9205 Vin
9206 Vin
9207 Maj
9207 Vin
9209 Maj
9209 Vin
9210 Vin
9303 Vin
9305 Maj
9305 Vin
9306 Maj
9306 Vin
9307 Maj
9307 Vin
9308 Maj
9308 Vin
9309 Maj | Yes
9309 Vin
9310 Maj
9310 Vin
9311 Maj
9311 Vin
9312 Maj
9312 Vin
9313 Maj
9313 Vin
9314 Maj
9314 Vin | Yes but owner pd
9315 Maj
9315 Vin
9316 Maj
9316 Vin
9317 Maj
9318 Maj
9318 Vin
9320 Maj
9401 Maj
9401 Vin
9402 Maj
9402 Vin
9403 Maj
9403 Vin
9404 Maj
9404 Vin
9405 Maj
9405 Vin
9406 Maj
9406 Vin
9407 Maj
9407 Vin
9408 Maj
9408 Vin
9409 Vin
9411 Vin
9413 Vin
9415 Vin
9417 Vin
9419 Vin
9501 Vin
9503 Vin
9505 Vin
9507 Vin
9511 Vin
9512 Mia
9513 Vin
9514 Mia
9516 Mia
9601 Mia
9602 Vin
9603 Mia | Yes
9604 Mia
9604 Vin
9605 Mia
9605 Vin
9606 Mia
9606 Vin
9607 Mia
9607 Vin
9608 Mia | Yes
9609 Vin
9611 Mia
9612 Mia
9612 Vin
9613 Mia
9613 Vin
9614 Mia
9614 Vin | Yes
9615 Mia
9615 Vin | TBD 2025 owner pd
9616 Vin
9617 Mia
9618 Mia
9619 Vin
9620 Mia
9621 Mia
9621 Vin
9622 Mia
9622 Vin
9623 Mia
9623 Vin
9624 Vin
9625 Mia
9626 Mia
9626 Vin
9627 Mia | Yes
9627 Vin
9628 Mia
9628 Vin
9629 Vin
9630 Mia
9631 Vin
9702 Mia
9703 Vin
9704 Mia
9705 Vin
9706 Mia
9707 Mia
9707 Vin | Yes
9708 Mia
9709 Mia
9709 Vin
9711 Mia
9715 Vin
9716 Vin
9717 Mia
9717 Vin
9718 Vin
9719 Mia
9719 Vin
9720 Vin
9721 Mia
9722 Vin
9723 Mia
9801 Mia
9802 Vin
9803 Mia
9804 Vin
9805 Mia
9806 Vin | Yes
9807 Mia
9808 Vin
9810 Mia
9811 Mia
9811 Vin
9812 Mia
9812 Vin
9813 Mia
9813 Vin
9814 Mia
9814 Vin
9815 Mia
9815 Vin | Yes
9816 Mia
9816 Vin
9817 Mia
9817 Vin
9818 Vin
9820 Mia
9821 Mia
9821 Vin
9822 Mia
9822 Vin
9823 Mia
9823 Vin
9824 Mia
9824 Vin
9825 Mia
9825 Vin
9826 Vin
9827 Mia
9828 Vin
9901 Vin
9902 Mia
9903 Vin
9904 Mia
9904 Vin
9905 Mia
9905 Vin
9906 Mia
9906 Vin
9907 Mia
9907 Vin
9908 Mia
9908 Vin
9909 Mia
9910 Vin
9911 Mia
9914 Vin
9916 Vin
9918 Vin
9920 Vin
Palazzo
Pavilion